--TELLABS Chemicals Pvt. Ltd.

Kamanwala Chambers, 4th Floor, Sir Phirozeshah Mehta Road, Mumbai 400 001.

Tel : (91)(22) 67477900 Fax : (91)(22) 67477901

#### E Mail  tellabsmumbai@telgroup.com website  www.telgroup.com

#### TELLABS   COOLING WATER SURVEY FORM

| Client Date Address Ref Contact Ref |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of cooling towers –Process /Utlility/power/common Give details if separate cooling towers are there |  |  |  |  |  |  |  |  |
| Type of Towers NATURAL/ /FORCED / INDUCED /FRP/ WOODEN/ / |  |  |  |  |  |  |  |  |
| Number of cells |  |  |  |  |  |  |  |  |
| Is basin common |  |  |  |  |  |  |  |  |
| use of the cooling water (air comd /refri system/ DG Set Vacuum/ jector/ process/ Compressor jackets/ furnace |  |  |  |  |  |  |  |  |
| Recirculation Rate R (m3/hr) |  |  |  |  |  |  |  |  |
| System Capacity V ((m3) |  |  |  |  |  |  |  |  |
| CT vInlet Temp (C) – Outlet Temp (C) Design/Actual |  |  |  |  |  |  |  |  |
| Estimated evaporation E (m3/hr) |  |  |  |  |  |  |  |  |
| Blow-Down Rate B/d (m3/hr) |  |  |  |  |  |  |  |  |
| Cycles of Concentration C Actual |  |  |  |  |  |  |  |  |
| Make-Up Rate MU (m3/hr) and per day |  |  |  |  |  |  |  |  |
| Critical heat exchanger Type: Plate/ straight/ u type / Total number |  |  | Material of construction of critical heat exchangers | Fluid (gas /liquid) |  | Temperature Profile inlet – outlet & delta t |  | Problems faced Use back side for details |
| Shell side |  |  |  |  |  |  |  |  |
| Tube side |  |  |  |  |  |  |  |  |
| Source of makeup | Is chlorination Done | Whether any pre-treatment is there, if so give details |  | Do you have Side stream filter details flow rate | Is acid alkali added to control pH ( ppm Kg/Day) |  | Process contaminants | Other details |
| Present chemical dosage and dosing pumps |  |  |  | Problems faced in the system ( give intensity |  |  |  |  |
|  |  |  |  | Scaling |  |  |  |  |
|  |  |  |  | Corrosion rate |  |  |  |  |
|  |  |  |  | Fouling and algae |  |  |  |  |

Water Analysis Pl give limits actual values and  testing frequency

| Sample | Hardness |  | Palk | Malk | Cl | TDS | pH | Iron | Turbi dity | Others |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Total | Calcium |  |  |  |  |  |  |  |  |  |  |

| Details of closed loop system Type of brine | System volume, | Make up per month | Temperature profile | pH | Present corrosion inhibitor and control levels |
| --- | --- | --- | --- | --- | --- |